NATIONAL OPEN UNIVERSITY OF NIGERIA

14/16 AHMADU BELLO WAY, VICTORIA ISLAND, LAGOS

SCHOOL OF SCIENCE AND TECHNOLOGY

JUNE/JULY EXAMINATION

COURSE CODE: CHM413

COURSE TITLE: ANALYTICAL CHEMISTRY II

TIME ALLOWED: 2 hours

INSTRUCTION: Answer any four questions

Question 1

(a)   Define the term “error”.                                                                                     (212marks)

(b)   List and discuss the various types of error.                                                         (10marks)

(c)    Distinguish between accuracy and precision.                                                      (5 marks)

Question 2

Seven measurements of the pH of a buffer solution gave the following results:

5.12, 5.20, 5.15, 5.17, 5.16, 5.19, 5.15

Calculate:

i)      Mean

ii)     Median

iii)    Standard deviation

iv)    The 95% confidence limits for the true pH                                                         (1712marks)

Question 3

a)   Describe the basic components of a pH –meter                                                      (712marks)

b)   List and explain the factors that affect the conductivity of an electrolyte solution.  (10marks)

Question 4

a)   Briefly explain the following terms:

i)    retention time 	ii)   mobile phase     iii)   chromatography      iv) analyte           (10marks)

b)   Differentiate between thin layer chromatography and column chromatography.     (712marks)

Question 5

a)   Enumerate and explain five applications of the differential scanning calorimeter.   (712marks)

b)   Explain the basic principle of a liquid membrane electrode.                                   (10marks)

Question 6

a)	Discuss the various steps involve in preparation of column.                            (5marks)

b)	Discuss the factors that affect the conductance of electrolyte solutions.           (712marks)

c)          Explain the basic principle of ion-exchange chromatography.                        (4marks)