NATIONAL OPEN UNIVERSITY OF NIGERIA

UNIVERSITY VILLAGE, PLOT 91 CADASTRAL ZONE, NNAMDI AZIKIWE EXPRESS WAY, JABI - ABUJA.

FACULTY OF SCIENCES

DEPARTMENT OF PURE AND APPLIED SCIENCES

NOVEMBER 2018, SECOND SEMESTER EXAMINATION

COURSE CODE:       CHM 391

COURSE TITLE:        PRACTICAL CHEMISTRY V – INORGANIC AND ANALYTICAL

CREDIT UNIT:          TWO (2)

TIME: 	                     2 HOURS

INSTRUCTION:         Question one is compulsory. Answer question one and any other three

questions.

QUESTION ONE

1ai. Enumerate the experimental procedure of determination of functional groups present in an organic sample.                                                                                                                      (5marks)

1aii) State the kind of molecules that absorb infrared radiation.                                         (1 mark)

1bi. Mention the significant difference between potentiometric titration and classical titration.

(3 marks).

1bii) If the values presented in the table below were obtained when 100 ml of a water sample was titrated with 0.04 M H2SO4, determine the total alkalinity of this water sample.

| NO of titration | Volume of sample (mL) | Initial burette reading | Final burette reading | Volume of Sulphuric (mL) |
| --- | --- | --- | --- | --- |
| 1 | 100 | 0.00 | 6.40 | 6.40 |
| 2 | 100 | 0.00 | 6.50 | 6.50 |
| 3 | 100 | 0.00 | 6.50 | 6.50 |

(5 marks)

1ci) Mention the uses of the following:

- Gravimetric analysis

- Potentiometric titration

- UV- Visible spectroscopy

- Colorimetry

- Infrared spectroscopy

- Atomic absorption spectroscopy                                                                            (6 marks)

1cii) What are the sources of acidity in a water body and why is it necessary to determine acidity of a water sample.                                                                                                  (5 marks)

QUESTION TWO

2a. The concentration of an organic compound is to be determined using UV-visible spectrophotometer, if the wavelength of maximum absorption (λ max) of this organic compound is unknown, use the information provided below to obtain the wavelength of maximum (λ max) at which the determination will be carried out.

| Absorbance(s) of the organic compound | Wavelengths of absorption of the organic compound (nm) |
| --- | --- |
| 0.100 | 360 |
| 0.110 | 380 |
| 0.120 | 400 |
| 0.125 | 420 |
| 0.130 | 440 |
| 0.160 | 460 |
| 0.165 | 480 |
| 0.400 | 500 |
| 0.60 | 520 |
| 1.00 | 540 |
| 1.10 | 560 |
| 0.80 | 580 |
| 0.40 | 600 |
| 0.10 | 620 |
| 0.11 | 640 |
| 0.12 | 660 |

(12 marks)

2b. Differentiate between qualitative analytical groups and groups of the periodic table.

(3 marks)

QUESTION THREE

3a) Atomic Absorption Spectroscopy (AAS) was used to determine the concentration of chromium in an imported rice sample, in the course of the analysis, standard solutions of chromium were prepared and their absorbance read at 550nm, producing the data below. Use this data to determine the concentration of chromium in the rice sample whose absorbance is 0.60.

| Standard | Concentration (mol/L) | Absorbance |
| --- | --- | --- |
| 1 | 0.00008 | 0.124 |
| 2 | 0.00016 | 0.239 |
| 3 | 0.00040 | 0.614 |
| 4 | 0.00080 |  |

(11 marks)

3b) Outline the procedure of determination of concentration of an analyte by colorimetry.

(4 marks)

QUESTION FOUR

4a) Outline and explain briefly the steps involved in gravimetric analysis.               (12 marks )

4b) How would you set the absorbance of UV-Visible spectrophotometer at zero (0)?

(3 marks)

QUESTION FIVE

5a) Use the table of characteristic infrared absorption bands of organic functional groups provided to identify the functional groups present in an organic molecule whose IR spectrum appear below.

CHARACTERISTIC INFRARED ABSORPTION BANDS OF FUNCTIONAL GROUPS

| Class of compounds | Absorption cm-1 | Intensity | Assignment |
| --- | --- | --- | --- |
| Alkanes and Akyls Alkenes Alkynes Ethers Aldehydes Carboxylic acids Alcohols | 2850 – 3000 1450 – 1470 1370 – 1390 1365 +1395 Two bands 715 - 725 3020-3140 1640-1670 910+990 Two bands 885-895 665-730 960-980 790-840 3265-3335 2100-2140 610-700 2190-2260 1085-1150 1020-1075 and 1200-1275 (Two bands) 2700-2725 1720-1740 1685-1710 1100 2500-3500 1710-1715 1680-1710 3300 – 3400 1125 - 1205 | s s m m w w-m vw-m m+s s m-s, broad s s s m s vw-w s m m s s m s bend s, broad s, broad s, broad m - s | C – H stretch C- H bend CH2, C – H bend -CH(CH3)3 bend -(CH2)n bend =C-H Stretch C=C Stretch =C-H bend =C-H bend =C-H bend =C-H bend =C-H bend =C-H Stretch C=C Stretch =C-H bend C=C Stretch C-O-C Stretch =C-O-C sym and asym stretch H-C=O Stretch C=O Stretch C=O Stretch C-C-C bending O-H Stretch C=O Stretch C=O Stretch O – H stretch C –O stretch |

Intensity abbreviations: vw = very weak, w = weak, m = medium, s = strong, vs = very strong

(101/2 marks)

5b) Deduce  from the identified functional groups what class of organic compound it is whose IR spectrum appear in 5a above.                                                                                       (41/2 marks)